## Commodities
Commodities | _GLOBAL,R0,R1,R2,R3,R4,R5,R6
~FI_Comm | ELC_subres_commodities
Region | CommName | CommDesc | Unit | Csets | LimType | CTSLvl | PeakTS | Ctype | Comment
R1,R2,R3,R4,R5,R6 | ELC | Electricity | PJ | NRG
R1 | RDMDELC | Dummy ELC demand | PJ | DEM
R0,R1 | ELCNB | Electricity from R0 | PJ | NRG
R2, R3, R4, R5, R6 | ELCR1 | Electricity from R1 (NE) | PJ
R1,R3,R4,R5,R6 | ELCR2 | Electricity from R2 (BK) | PJ
R1,R2,R3,R4,R5,R6 | ELCR3 | Electricity from R3 (BX) | PJ
R1,R2,R3,R4,R5,R6 | ELCR4 | Electricity from R4 (MH) | PJ
R1,R2,R3,R4,R5,R6 | ELCR5 | Electricity from R5 (SI) | PJ
R1,R2,R3,R4,R5,R6 | ELCR6 | Electricity from R6 (QN) | PJ
*Material Carriers to Nuclear Techs
R0 | NURN | Natural Uranium | t | MAT
R0 | URD | Depleted uranium generated during enrichment | t
R0,R1,R2,R3,R4,R5,R6 | URNA | Enriched Uranium (4.5%) for LWRs | t
R0,R1,R2,R3,R4,R5,R6 | URNB | Enriched Uranium (9%) for PBMRs | t
R0,R1,R2,R3,R4,R5,R6 | URNC | Enriched Uranium (19%) for GT-MHRs | t
R1,R2,R3,R4,R5,R6 | USPTA | Spent U from LWRs | t
R1,R2,R3,R4,R5,R6 | USPTB | Spent U from PBMRs | t
R1,R2,R3,R4,R5,R6 | USPTC | Spent U from GT-MHRs | t
*Coal Energy Carriers
R1 | CSTMBH | High Sulfur Bituminous to SOx Control | PJ | NRG
R1 | CSTMBM | Medium Sulfur Bituminous to SOx Control | PJ
R1 | CSTMBL | Low Sulfur Bituminous to SOx Control | PJ
R1 | CSTMSM | Medium Sulfur Sub-Bituminous to SOx Control | PJ
R1 | CSTMSL | Low Sulfur Sub-Bituminous to SOx Control | PJ
R1 | CSTMLH | High Sulfur Lignite to SOx Control | PJ
R1 | CSTMLM | Medium Sulfur Lignite to SOx Control | PJ
R1 | CSTMBIT1O | Bituminous to NOX Control Over 100MW | PJ
R1 | CSTMSUB1O | Sub-Bituminous to NOX Control Over 100MW | PJ
R1 | CSTMLIG1O | Lignite to NOX Control Over 100MW | PJ
R1 | CSTMBIT1U | Bituminous to NOX Control Under 100MW | PJ
R1 | CSTMSUB1U | Sub-Bituminous to NOX Control Under 100MW | PJ
R1 | CSTMLIG1U | Lignite to NOX Control Under 100MW | PJ
R1 | CSTMBIT2O | Bituminous from 1st to 2nd Nox Control Over 100MW | PJ
R1 | CSTMSUB2O | Sub-Bituminous from 1st to 2nd Nox Control Over 100MW | PJ
R1 | CSTMLIG2O | Lignite from 1st to 2nd Nox Control Over 100MW | PJ
R1 | CSTMBIT2U | Bituminous from 1st to 2nd Nox Control Under 100MW | PJ
R1 | CSTMSUB2U | Sub-Bituminous from 1st to 2nd Nox Control Under 100MW | PJ
R1 | CSTMLIG2U | Lignite from 1st to 2nd Nox Control Under 100MW | PJ
R1 | CSTMBIT3O | Bituminous to PM Control Over 100MW | PJ
R1 | CSTMSUB3O | Sub-Bituminous to PM Control Over 100MW | PJ
R1 | CSTMLIG3O | Lignite to PM Control Over 100 MW | PJ
R1 | CSTMBIT3U | Bituminous to PM Control Under 100MW | PJ
R1 | CSTMSUB3U | Sub-Bituminous to PM Control Under 100MW | PJ
R1 | CSTMLIG3U | Lignite to PM Control Under 100 MW | PJ
R1 | CSTMBIT4O | Bituminous from 1st to 2nd PM Control Over 100MW | PJ
R1 | CSTMSUB4O | Sub-Bituminous from 1st to 2nd PM Control Over 100MW | PJ
R1 | CSTMLIG4O | Lignite from 1st to 2nd PM Control Over 100MW | PJ
R1 | CSTMBIT4U | Bituminous from 1st to 2nd PM Control Under 100MW | PJ
R1 | CSTMSUB4U | Sub-Bituminous from 1st to 2nd PM Control Under 100MW | PJ
R1 | CSTMLIG4U | Lignite from 1st to 2nd PM Control Under 100MW | PJ
R1 | CSTMBIT5O | Bituminous After Emissions Accounting Over 100MW | PJ
R1 | CSTMSUB5O | Sub-Bituminous After Emissions Accounting Over 100MW | PJ
R1 | CSTMLIG5O | Lignite After Emissions Accounting Over 100MW | PJ
R1 | CSTMBIT5U | Bituminous After Emissions Accounting Under 100MW | PJ
R1 | CSTMSUB5U | Sub-Bituminous After Emissions Accounting Under 100MW | PJ
R1 | CSTMLIG5U | Lignite After Emissions Accounting Under 100MW | PJ
R1,R2,R3,R4,R5,R6 | COALBST | Coal to Boiler Steam Turbine CHP, Coal, Existing | PJ
R1 | COALSTMN | Coal to NEW Conversion Plants | PJ
R1 | COALIGCC | Coal to IGCC | PJ
*Non-Coal Energy Carriers to Conversion Techs
R1,R2,R3,R4,R5,R6 | ELCDSLEA | Diesel | PJ | NRG
R1,R2,R3,R4,R5,R6 | ELCDSL | Diesel to the electric system | PJ
R1,R2,R3,R4,R5,R6 | ELCDSLPN | Diesel to the electric system PN | PJ
R1,R2,R3,R4,R5,R6 | ELCRFLEA | Residual Fuel Oil LS | PJ
R1,R2,R3,R4,R5,R6 | ELCRFHEA | Residual Fuel Oil HS | PJ
R1,R2,R3,R4,R5,R6 | ELCRFH | Residual fuel oil, high sulfur, to electric system | PJ
R1,R2,R3,R4,R5,R6 | ELCRFL | Residual fuel oil, low sulfur, to electric system | PJ
R1,R2,R3,R4,R5,R6 | ELCRFHPS | Residual fuel oil, high sulfur, to electric system PS | PJ
R1,R2,R3,R4,R5,R6 | ELCRFLPS | Residual fuel oil, low sulfur, to electric system PS | PJ
R1,R2,R3,R4,R5,R6 | ELCRFHPN | Residual fuel oil, high sulfur, to electric system PN | PJ
R1,R2,R3,R4,R5,R6 | ELCRFLPN | Residual fuel oil, low sulfur, to electric system PN | PJ
R1,R2,R3,R4,R5,R6 | ELCNGAEA | Natural Gas to Combustion Turbines | PJ
R1,R2,R3,R4,R5,R6 | ELCNGCEA | Natural Gas to Combined-Cycle | PJ
R1,R2,R3,R4,R5,R6 | ELCNGSEA | Natural Gas(steam) to Electric Sector | PJ
R1,R2,R3,R4,R5,R6 | ELCNGA | Natural gas to the electric system | PJ
R1 | ELCHYD | Water | PJ
R1,R2,R3,R4,R5,R6 | ELCWND | Wind | PJ
*R1,R2,R3,R4,R5,R6 | ELCGEO | Geothermal | PJ
R1 | ELCSOL | Solar | PJ
*Biomass energy carriers
*R1,R2,R3,R4,R5,R6 | AGR | Delivered ag residues - other (in Mt) | Mt | MAT
*R1,R2,R3,R4,R5,R6 | ECG | Delivered energy crop - grasses (in Mt) | Mt
*R1,R2,R3,R4,R5,R6 | ECW | Delivered energy crop - woody (in Mt) | Mt
*R1,R2,R3,R4,R5,R6 | FSR | Delivered forest residues (in Mt) | Mt
*R1,R2,R3,R4,R5,R6 | PMR | Delivered primary mill residues (in Mt) | Mt
*R1,R2,R3,R4,R5,R6 | UWW | Delivered urban wood waste (in Mt) | Mt
*R1,R2,R3,R4,R5,R6 | STV | Delivered corn stover (in Mt) | Mt
*R1,R2,R3,R4,R5,R6 | AGR_PJ | Delivered ag residues - other (in PJ) | PJ | NRG
*R1,R2,R3,R4,R5,R6 | ECG_PJ | Delivered energy crop - grasses (in PJ) | PJ
*R1,R2,R3,R4,R5,R6 | ECW_PJ | Delivered energy crop - woody (in PJ) | PJ
*R1,R2,R3,R4,R5,R6 | FSR_PJ | Delivered forest residues (in PJ) | PJ
*R1,R2,R3,R4,R5,R6 | PMR_PJ | Delivered primary mill residues (in PJ) | PJ
*R1,R2,R3,R4,R5,R6 | UWW_PJ | Delivered urban wood waste (in PJ) | PJ
*R1,R2,R3,R4,R5,R6 | STV_PJ | Delivered corn stover (in PJ) | PJ
*R1,R2,R3,R4,R5,R6 | ELCBIO | Biomass all kinds | PJ
*R1,R2,R3,R4,R5,R6 | ELCBIGCCEA | Electric sector biomass (all kinds) to EBIOIGCC after emissions accounting | PJ
*R1,R2,R3,R4,R5,R6 | ELCMSWEA | Municipal Solid Waste | PJ
*R1,R2,R3,R4,R5,R6 | ELCMSW | MSW to the electric system | PJ
*R1,R2,R3,R4,R5,R6 | ELCBSTMEA | Electric sector biomass (all kinds) to steam combustion after CO2 and SO2 emissions accounting | PJ
*R1,R2,R3,R4,R5,R6 | ELCBIOSTM | Electric sector biomass to dedicated steam combustion | PJ
*R1,R2,R3,R4,R5,R6 | LFGICEEA | LFG to IC Engine after emissions | PJ
*R1,R2,R3,R4,R5,R6 | LFGGTREA | LFG to Gas Turbine after emissions | PJ
*R1,R2,R3,R4,R5,R6 | LFGSTREA | LFG to Steam Turbine after emissions | PJ
*R1,R2,R3,R4,R5,R6 | LFGGCCEA | LFG to Combined Cycle Gas Turbine | PJ
*R1,R2,R3,R4,R5,R6 | LFG | Landfill gas | PJ
*Emissions Commodities
R1,R2,R3,R4,R5,R6 | CARBON | Carbon Emissions | Mt | ENV
R1,R2,R3,R4,R5,R6 | CO2BE | Carbon dioxide- Electricity from biomass | kt | ENV
R1,R2,R3,R4,R5,R6 | CO2E | Electric Sector Carbon Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | CO2EN | Electric Sector CO2 from new coal | kt | ENV
R1,R2,R3,R4,R5,R6 | CO2EO | Electric Sector CO2 from old coal | kt | ENV
R1,R2,R3,R4,R5,R6 | SO2E | Electric Sector Sulfur Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | SO2BE | Sulfur dioxide - Electricity from biomass | kt | ENV
R1,R2,R3,R4,R5,R6 | NOXE | Electric Sector NOX Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | NOXBE | NOX Emissions - Electricity from biomass | kt | ENV
R1,R2,R3,R4,R5,R6 | PM10E | Electric Sector PM10 Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | NH3 | Electric Sector NH3 Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | CO2EF | Electric Sector Fossil CO2 | kt | ENV
R1,R2,R3,R4,R5,R6 | UPCAR | Upstream CO2 emissions for fossil fuels | kt | ENV
R1,R2,R3,R4,R5,R6 | UPMET | Upstream CH4 emissions for fossil fuels | kt | ENV
R1,R2,R3,R4,R5,R6 | CO2CPP | Electric Sector CO2 on CPP techs | kt | ENV
*Emissions Commodities
R1 | ELCCOABH | Coal to Electric Sector | PJ | NRG
R1 | ELCCOABL | Coal to Electric Sector | PJ
R1 | ELCCOABM | Coal to Electric Sector | PJ
R1 | ELCCOALH | Coal to Electric Sector | PJ
R1 | ELCCOALM | Coal to Electric Sector | PJ
R1 | ELCCOASL | Coal to Electric Sector | PJ
R1 | ELCCOASM | Coal to Electric Sector | PJ
*CCS: Coal Energy Carriers
R1 | CSTMBHCCO | High Sulfur Bituminous Coal Between SO2 and CO2 Controls or Pass Through Over 100MW | PJ | NRG
R1 | CSTMBLCCO | Low Sulfur Bituminous Coal Between SO2 and CO2 Controls or Pass Through Over 100MW | PJ
R1 | CSTMBMCCO | Medium Sulfur Bituminous Coal Between SO2 and CO2 Controls or Pass Through Over 100MW | PJ
R1 | CSTMLHCCO | High Sulfur lignite Coal Between SO2 and CO2 Controls or Pass Through Over 100MW | PJ
R1 | CSTMLMCCO | Medium Sulfur lignite Coal Between SO2 and CO2 Controls or Pass Through Over 100MW | PJ
R1 | CSTMSLCCO | Low Sulfur Subbituminous Coal Between SO2 and CO2 Controls or Pass Through Over 100MW | PJ
R1 | CSTMSMCCO | Medium Sulfur Subbituminous Coal Between SO2 and CO2 Controls or Pass Through Over 100MW | PJ
R1 | CSTMBHCCU | High Sulfur Bituminous Coal Between SO2 and CO2 Controls or Pass Through Under 100MW | PJ
R1 | CSTMBLCCU | Low Sulfur Bituminous Coal Between SO2 and CO2 Controls or Pass Through Under 100MW | PJ
R1 | CSTMBMCCU | Medium Sulfur Bituminous Coal Between SO2 and CO2 Controls or Pass Through Under 100MW | PJ
R1 | CSTMLHCCU | High Sulfur lignite Coal Between SO2 and CO2 Controls or Pass Through Under 100MW | PJ
R1 | CSTMLMCCU | Medium Sulfur lignite Coal Between SO2 and CO2 Controls or Pass Through Under 100MW | PJ
R1 | CSTMSLCCU | Low Sulfur Subbituminous Coal Between SO2 and CO2 Controls or Pass Through Under 100MW | PJ
R1 | CSTMSMCCU | Medium Sulfur Subbituminous Coal Between SO2 and CO2 Controls or Pass Through Under 100MW | PJ
*R1 | COALSTMCC | Coal to Coal Fired Power Post CO2 Capture Retrofit or PT | PJ
*R1 | COALIGCCCC | Coal to IGCC after CO2 capture retrofit or PT | PJ
*CCS: Non-Coal Energy Carriers to Conversion Techs
*R1,R2,R3,R4,R5,R6 | ELCNGACC | Nat gas to non-stm elec after CO2 capture retrofit | PJ | NRG
*CCS: Emissions Commodities
*R1,R2,R3,R4,R5,R6 | CO2S | CO2 Sequestered | kt | ENV
* Renewables
*R1,R2,R3,R4,R5,R6 | WND | Wind | PJ | NRG
*R1,R2,R3,R4,R5,R6 | SOL | Solar | PJ
*INFES Backstop
| ZZDMY | Dummy commodity for the ZZ-backstop no-INFES processes | PJ | NRG
*Water Commodities
R0,R1,R2,R3,R4,R5,R6 | H2OC | Water Consumed | uvol | ENV
R0,R1,R2,R3,R4,R5,R6 | H2OW | Water Withdrawn | uvol | ENV
R0,R1,R2,R3,R4,R5,R6 | H2OCE | Water Consumed - Electric Sector | uvol | ENV
R0,R1,R2,R3,R4,R5,R6 | H2OWE | Water Withdrawn - Electric Sector | uvol | ENV
*Resid Coal Retirement Dummy
R1,R2,R3,R4,R5,R6 | ZZDMYCOAL | Resid coal retirement dummy | PJ | NRG
*Resid Nuclear Retirement Dummy
R1,R2,R3,R4,R5,R6 | ZZDMYNUK | Resid nuclear retirement dummy | PJ | NRG
*Resid Hydro Retirement Dummy
R1,R2,R3,R4,R5,R6 | ZZDMYHC | Hydro conv pp retirement dummy | PJ | NRG
R1,R2,R3,R4,R5,R6 | ZZDMYHR | Hydro rev pp retirement dummy | PJ
*NGA Retirement Dummy
R1,R2,R3,R4,R5,R6 | ZZDMYNG1 | Hydro NGAACC retirement dummy | PJ | NRG
*WND Retirement Dummy
R1,R2,R3,R4,R5,R6 | ZZDMYW1 | Onshore wind retirement dummy | PJ | NRG
R1,R2,R3,R4,R5,R6 | ZZDMYW2 | Offshore wind retirement dummy | PJ
*SOL Retirement Dummy
R1,R2,R3,R4,R5,R6 | ZZDMYPV | Solar PV retirement dummy | PJ | NRG
*CHP Retirement Dummy
R1,R2,R3,R4,R5,R6 | ZZDMYPC1 | CHP Oil retirement dummy | PJ | NRG
*Emissions Commodities
R1,R2,R3,R4,R5,R6 | CO2 | Carbon dioxide emissions | Mt | ENV
R1,R2,R3,R4,R5,R6 | SO2 | Sulfur dioxide emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | NOX | NOX Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | PM10 | PM10 Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | PM25 | Electric Sector PM2.5 Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | VOC | Electric Sector VOC Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | CO | Electric Sector CO Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | CH4 | Electric Sector CH4 Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | N2O | Electric Sector N2O Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | BC | Electric Sector BC Emissions | kt | ENV
R1,R2,R3,R4,R5,R6 | OC | Electric Sector OC Emissions | kt | ENV

## Technologies
_GLOBAL,R0,R1,R2,R3,R4,R5,R6 | [7 empty] | Technologies
~FI_Process | ELC_subres_technologies
TechName | TechDesc | Tact | Tcap | Sets | Tslvl | PrimaryCG | Vintage | Region | Comment
*Electricity production New capacity
ENGACC11 | Natural Gas - Combined-Cycle (Turbine) | PJ | GW | ELE | DAYNITE
ENGACC15 | Natural Gas - Combined-Cycle (Turbine) | PJ | GW | ELE | DAYNITE
ENGACC20 | Natural Gas - Combined-Cycle (Turbine) | PJ | GW | ELE | DAYNITE
ENGAACC20 | Natural Gas - Advanced Combined-Cycle (Turbine) | PJ | GW | ELE | DAYNITE
ENGACC25 | Natural Gas - Advanced Combined-Cycle (Turbine) | PJ | GW | ELE | DAYNITE
ENGACT11 | Natural Gas - Combustion Turbine | PJ | GW | ELE | DAYNITE
ENGACT15 | Natural Gas - Combustion Turbine | PJ | GW | ELE | DAYNITE
ENGACT20 | Natural Gas - Combustion Turbine | PJ | GW | ELE | DAYNITE
ENGAACT20 | Natural Gas - Advanced Combustion Turbine | PJ | GW | ELE | DAYNITE
EURNALWR28 | Nuclear LWRs in 2028 | PJ | GW | ELE | SEASON | NRGO
EURNASMR | Advanced nuclear technology: Small Modular Reactors | PJ | GW | ELE | SEASON | NRGO
*CHP production New capacity
ECHPBIO11 | Electric sector BIO CHP | PJ | GW | HPL | SEASON
ECHPCOAL11 | Electric sector Coal CHP | PJ | GW | HPL | DAYNITE
ECHPNGA11 | Electric sector NGA CHP | PJ | GW | HPL | DAYNITE
ECHPOIL11 | Electric sector Oil CHP | PJ | GW | HPL | DAYNITE
*Hydro production New capacity
EHYDCONR11 | Hydroelectric, Conventional | PJ | GW | ELE | DAYNITE
SHYDREVRIN11 | Hydroelectric, Reversible | PJ | GW | STG | DAYNITE
EHYDREVROUT11 | Hydroelectric, Reversible | PJ | GW | ELE | DAYNITE
*Utility-Scale Battery
SSTOBATUTI-IN | Electricity Battery Storage 4-hour Utility Scale | PJ | GW | STG | DAYNITE
ESTOBATUTI-OUT | Electricity Battery Storage 4-hour Utility Scale | PJ | GW | ELE | DAYNITE
SSTOBAT10HRUTI-IN | Electricity Battery Storage 10-hour Utility Scale | PJ | GW | STG | DAYNITE
ESTOBAT10HRUTI-OUT | Electricity Battery Storage 10-hour Utility Scale | PJ | GW | ELE | DAYNITE
*Solar wind electricity production New capacity
* Solar PV Technologies |  |  |  |  | DAYNITE
ESOLPVCLOWCOST | Solar PV Centralized Generation, Low Cost | PJ | GW | ELE | DAYNITE
ESOLPVCHIGHCOST | Solar PV Centralized Generation, High Cost | PJ | GW | ELE | DAYNITE
* Wind Technologies | 0 | PJ | GW | ELE | DAYNITE
EWNDONLOWCOST | Onshore Wind, Low Cost | PJ | GW | ELE | DAYNITE
EWNDONHIGHCOST | Onshore Wind, High Cost | PJ | GW | ELE | DAYNITE
EWNDOFFIX | Offshore Wind Fixed Bottom | PJ | GW | ELE | DAYNITE
EWNDOFFIX | Offshore Wind Fixed Bottom | PJ | GW | ELE | DAYNITE
EWNDOFFLT | Offshore Wind Floating | PJ | GW | ELE | DAYNITE

## TechData_NewCap
_GLOBAL,R0,R1,R2,R3,R4,R5,R6
~FI_T
TechName | *TechDesc | *Units | Region | CommIN | CommOUT | NCAP_START | PRC_CAPACT | EFF~2010 | EFF~2015 | EFF~2020 | EFF~2025 | EFF~2055 | Output | *lookup | NCAP_TLIFE | Peak | NCAP_DRATE | NCAP_AFA | NCAP_BND~UP~2015 | NCAP_BND~UP~2020 | NCAP_BND~UP~2025 | NCAP_BND~UP~2030 | NCAP_BND~UP~2035 | NCAP_BND~UP~2055 | *lookup | *Regional Cost Lookup | NCAP_FOM~2010 | ACT_COST~2010 | NCAP_FOM~2020 | ACT_COST~2020 | NCAP_COST~2010 | NCAP_COST~2015 | NCAP_COST~2020 | *LOOKUP: ATB Tech | *LOOKUP: ATB TechDetail | *ATB CAPEX Base | NCAP_COST~2025 | NCAP_COST~2030 | NCAP_COST~2035 | NCAP_COST~2040 | NCAP_COST~2045 | NCAP_COST~2050 | *ATB FOM Base | NCAP_FOM~2025 | NCAP_FOM~2030 | NCAP_FOM~2035 | NCAP_FOM~2040 | NCAP_FOM~2045 | NCAP_FOM~2050 | *ATB VOM Base | ACT_COST~2025 | ACT_COST~2030 | ACT_COST~2035 | ACT_COST~2040 | ACT_COST~2045 | ACT_COST~2050 | Input~2010 | Input~2015 | Input~2020 | Input~2055 | Region | ENV_ACT~CO2CPP~2010 | ENV_ACT~CO2CPP~2015 | ENV_ACT~CO2CPP~2020 | ENV_ACT~CO2CPP~2025 | ENV_ACT~CO2CPP~2055
* | new_capacity_conventional_technologies | [6 empty] | Burnup (MWD/kgHM): | 50 |  |  |  |  | Lookup from LifetimeAssumptions | [10 empty] | Lookup from New Cap Raw Data |  | 2012 | 2022 | [8 empty] | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 |  | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 |  | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | [5 empty] | 57.8385
ENGACC11 | Natural Gas - Combined-Cycle (Turbine) | PJ, GW | R1,R2,R3,R4,R5,R6 | ELCNGCEA | ELC | 2011 | 31.536 | 0.53775 | 0.55752 | 0.55752 | 0.55752 | 0.55752 |  | Existing Gas & oil turbines | 50 | 0.95 | 0.15 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | Conv Gas/Oil Comb Cycle |  | 11.5265 | 0.87521 | 11.5265 | 0.87521 | 762.3038 | 762.3038 | 762.3038 | NaturalGas_FE | CTAvgCF | 1348.8151 | 745.6772 | 718.0292 | 690.3182 | 662.6702 | 635.0222 | 607.3112 | 26.1 | 11.3498 | 11.0407 | 10.6874 | 10.3782 | 10.0691 | 9.7158 | 6.94 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 1.8596 | 1.7937 | 1.7937 | 1.7937 | R2,R3,R4,R5,R6 | 107.5573 |  | 103.7432 | 103.7432
ENGACC15 | Natural Gas - Combined-Cycle (Turbine) | PJ, GW | R1 | ELCNGCEA | ELC | 2015 | 31.536 | 0.53775 | 0.55752 | 0.55752 | 0.55752 | 0.55752 |  | Existing Gas & oil turbines | 50 | 0.95 | 0.15 | 0.9 |  | 0 | 0 | 0 | 0 | 0 | Conv Gas/Oil Comb Cycle |  | 11.5265 | 0.87521 | 11.5265 | 0.87521 | 762.3038 | 762.3038 | 762.3038 | NaturalGas_FE | CTAvgCF | 1348.8151 | 745.6772 | 718.0292 | 690.3182 | 662.6702 | 635.0222 | 607.3112 | 26.1 | 11.3498 | 11.0407 | 10.6874 | 10.3782 | 10.0691 | 9.7158 | 6.94 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 1.8596 | 1.7937 | 1.7937 | 1.7937 | R2,R3,R4,R5,R6 | 107.5573 |  | 103.7432 | 103.7432
ENGACC20 | Natural Gas - Combined-Cycle (Turbine) | PJ, GW | R1 | ELCNGCEA | ELC | 2020 | 31.536 | 0.53775 | 0.55752 | 0.55752 | 0.55752 | 0.55752 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 |  |  | 0 | 0 | 0 | 0 | Conv Gas/Oil Comb Cycle |  | 11.5265 | 0.87521 | 11.5265 | 0.87521 | 762.3038 | 762.3038 | 762.3038 | NaturalGas_FE | CTAvgCF | 1348.8151 | 745.6772 | 718.0292 | 690.3182 | 662.6702 | 635.0222 | 607.3112 | 26.1 | 11.3498 | 11.0407 | 10.6874 | 10.3782 | 10.0691 | 9.7158 | 6.94 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 0.87521 | 1.8596 | 1.7937 | 1.7937 | 1.7937 | R2,R3,R4,R5,R6
ENGAACC20 | Natural Gas - Advanced Combined-Cycle (Turbine) | PJ, GW | R1 | ELCNGCEA | ELC | 2020 | 31.536 | 0.5896 | 0.59863 | 0.59863 | 0.59863 | 0.59863 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 |  |  | 0 | 0 | 0 | 0 | Adv Gas/Oil Comb Cycle (CC) |  | 13.4519 | 0.79498 | 13.4519 | 0.79498 | 827.0689 | 827.0689 | 827.0689 | NaturalGas_FE | CTAvgCF | 1348.8151 | 809.0298 | 779.0328 | 748.9675 | 718.9705 | 688.9736 | 658.9083 | 26.1 | 13.2457 | 12.885 | 12.4726 | 12.1119 | 11.7511 | 11.3388 | 6.94 | 0.79498 | 0.79498 | 0.79498 | 0.79498 | 0.79498 | 0.79498 | 1.6961 | 1.6705 | 1.6705 | 1.6705 | R2,R3,R4,R5,R6
ENGACC25 | Natural Gas - Combined-Cycle (Turbine) | PJ, GW | R1 | ELCNGCEA | ELC | 2025 | 31.536 | 0.59515 | 0.59515 | 0.59515 | 0.59515 | 0.59515 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 | [6 empty] | Combined-cycle—multi-shaft | CC – multi shaft | 9.4882 | 0.40398 | 9.4882 | 0.40398 | 946.7962 | 946.7962 | 946.7962 | NaturalGas_FE | CTAvgCF | 1348.8151 | 926.1457 | 891.8063 | 857.3888 | 823.0494 | 788.7101 | 754.2925 | 26.1 | 9.3428 | 9.0883 | 8.7975 | 8.543 | 8.2885 | 7.9977 | 6.94 | 0.40398 | 0.40398 | 0.40398 | 0.40398 | 0.40398 | 0.40398 | 1.6802 | 1.6802 | 1.6802 | 1.6802 | R2,R3,R4,R5,R6
*ENGACC25 | Natural Gas - Combined-Cycle (Turbine) | PJ, GW | R2,R3,R4,R5,R6 | ELCNGCEA | ELC | 2025 | 31.536 | 0.59515 | 0.59515 | 0.59515 | 0.59515 | 0.59515 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 | [6 empty] | Combined-cycle—multi-shaft | CC – multi shaft | 9.4882 | 0.40398 | 9.4882 | 0.40398 | 1318.8732 | 1318.8732 | 1318.8732 | NaturalGas_FE | CTAvgCF | 1348.8151 | 1290.1073 | 1242.273 | 1194.3299 | 1146.4957 | 1098.6614 | 1050.7183 | 26.1 | 9.3428 | 9.0883 | 8.7975 | 8.543 | 8.2885 | 7.9977 | 6.94 | 0.40398 | 0.40398 | 0.40398 | 0.40398 | 0.40398 | 0.40398 | 1.6802 | 1.6802 | 1.6802 | 1.6802 | R2,R3,R4,R5,R6
ENGACT11 | Natural Gas - Combustion Turbine | PJ, GW | R1,R2,R3,R4,R5,R6 | ELCNGAEA | ELC | 2011 | 31.536 | 0.34727 | 0.36279 | 0.36279 | 0.36279 | 0.36279 |  | Existing Gas & oil turbines | 50 | 0.95 | 0.15 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | Conv Combustion Turbine |  | 6.424 | 3.7561 | 6.424 | 3.7561 | 808.6896 | 808.6896 | 808.6896 | NaturalGas_FE | CCAvgCF | 1499.253 | 793.7829 | 768.8983 | 744.0137 | 719.1291 | 694.2445 | 669.42 | 34.5 | 6.3123 | 6.1075 | 5.9213 | 5.7351 | 5.5489 | 5.3626 | 2.17 | 3.7042 | 3.6003 | 3.5138 | 3.4272 | 3.3407 | 3.2368 | 2.8796 | 2.7564 | 2.7564 | 2.7564 | R2,R3,R4,R5,R6
ENGACT15 | Natural Gas - Combustion Turbine | PJ, GW | R1 | ELCNGAEA | ELC | 2015 | 31.536 | 0.34727 | 0.36279 | 0.36279 | 0.36279 | 0.36279 |  | Existing Gas & oil turbines | 50 | 0.95 | 0.15 | 0.9 |  | 0 | 0 | 0 | 0 | 0 | Conv Combustion Turbine |  | 6.424 | 3.7561 | 6.424 | 3.7561 | 808.6896 | 808.6896 | 808.6896 | NaturalGas_FE | CCAvgCF | 1499.253 | 793.7829 | 768.8983 | 744.0137 | 719.1291 | 694.2445 | 669.42 | 34.5 | 6.3123 | 6.1075 | 5.9213 | 5.7351 | 5.5489 | 5.3626 | 2.17 | 3.7042 | 3.6003 | 3.5138 | 3.4272 | 3.3407 | 3.2368 | 2.8796 | 2.7564 | 2.7564 | 2.7564 | R2,R3,R4,R5,R6
ENGACT20 | Natural Gas - Combustion Turbine | PJ, GW | R1 | ELCNGAEA | ELC | 2020 | 31.536 | 0.34727 | 0.36279 | 0.36279 | 0.36279 | 0.36279 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 |  |  | 0 | 0 | 0 | 0 | Conv Combustion Turbine |  | 6.424 | 3.7561 | 6.424 | 3.7561 | 808.6896 | 808.6896 | 808.6896 | NaturalGas_FE | CCAvgCF | 1499.253 | 793.7829 | 768.8983 | 744.0137 | 719.1291 | 694.2445 | 669.42 | 34.5 | 6.3123 | 6.1075 | 5.9213 | 5.7351 | 5.5489 | 5.3626 | 2.17 | 3.7042 | 3.6003 | 3.5138 | 3.4272 | 3.3407 | 3.2368 | 2.8796 | 2.7564 | 2.7564 | 2.7564 | R2,R3,R4,R5,R6
ENGAACT20 | Natural Gas - Advanced Combustion Turbine | PJ, GW | R1 | ELCNGAEA | ELC | 2020 | 31.536 | 0.38883 | 0.38883 | 0.38883 | 0.38883 | 0.38883 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 |  |  | 0 | 0 | 0 | 0 | Adv Combustion Turbine |  | 6.1614 | 2.5211 | 6.1614 | 2.5211 | 561.0066 | 561.0066 | 561.0066 | NaturalGas_FE | CCAvgCF | 1499.253 | 550.6654 | 533.4024 | 516.1394 | 498.8764 | 481.6133 | 464.392 | 34.5 | 6.0543 | 5.8578 | 5.6792 | 5.5007 | 5.3221 | 5.1435 | 2.17 | 2.4862 | 2.4165 | 2.3584 | 2.3003 | 2.2422 | 2.1725 | 2.5718 | 2.5718 | 2.5718 | 2.5718 | R2,R3,R4,R5,R6
ENGACT25 | Natural Gas - Combustion Turbine | PJ, GW | R1 | ELCNGCEA | ELC | 2025 | 31.536 | 0.41551 | 0.41551 | 0.41551 | 0.41551 | 0.41551 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 | [6 empty] | Combustion turbine—aeroderivativeh | CT – aeroderivative | 12.6769 | 1.0154 | 12.6769 | 1.0154 | 1071.4031 | 1071.4031 | 1071.4031 | NaturalGas_FE | CCAvgCF | 1499.253 | 1051.6538 | 1018.6851 | 985.7164 | 952.7477 | 919.779 | 886.8899 | 34.5 | 12.4564 | 12.0522 | 11.6848 | 11.3173 | 10.9499 | 10.5824 | 2.17 | 1.0013 | 0.97325 | 0.94985 | 0.92646 | 0.90306 | 0.87499 | 2.4067 | 2.4067 | 2.4067 | 2.4067 | R2,R3,R4,R5,R6
*ENGACT25 | Natural Gas - Combustion Turbine | PJ, GW | R2,R3,R4,R5,R6 | ELCNGCEA | ELC | 2025 | 31.536 | 0.41551 | 0.41551 | 0.41551 | 0.41551 | 0.41551 |  | New Gas & oil turbines | 30 | 0.95 | 0.15 | 0.9 | [6 empty] | Combustion turbine—aeroderivativeh | CT – aeroderivative | 12.6769 | 1.0154 | 12.6769 | 1.0154 | 1421.2493 | 1421.2493 | 1421.2493 | NaturalGas_FE | CCAvgCF | 1499.253 | 1395.0511 | 1351.3171 | 1307.5831 | 1263.8491 | 1220.1151 | 1176.4868 | 34.5 | 12.4564 | 12.0522 | 11.6848 | 11.3173 | 10.9499 | 10.5824 | 2.17 | 1.0013 | 0.97325 | 0.94985 | 0.92646 | 0.90306 | 0.87499 | 2.4067 | 2.4067 | 2.4067 | 2.4067 | R2,R3,R4,R5,R6
EURNALWR28 | Nuclear LWRs online in 2028. Assuming 6-year delay | PJ, GW | R1 | URNA |  | 2035 | 31.536 | 1.5336 |  |  |  | 1.5336 |  | Nuclear | 30 | 0.95 | 0.25 | 0.9 | [6 empty] | Nuclear—light water reactor | Nuclear– light water reactor | 94.6021 | 0.512 | 94.6021 | 0.512 | 5679.3293 | 5679.3293 | 5679.3293 | Nuclear | Nuclear | 11836.1177 |  |  | 5679.3293 | 5498.459 | 4955.8479 | 4413.2368 | 204 |  |  | 94.6021 | 94.6021 | 94.6021 | 94.6021 | 3.4 | 0 | 0.512 | 0.512 | 0.512 | 0.512 | 0.512 |  |  |  |  | R1
ELC
[5 empty] | USPTA | [7 empty] | 0.65207
EURNASMR | Advanced nuclear technology: Small Modular Reactors | PJ, GW | R1 | URNA |  | 2035 | 31.536 | 1.5336 |  |  |  | 1.5336 |  | Nuclear | 30 | 0.95 | 0.25 | 0.9 | [6 empty] | Nuclear—small modular reactor | Nuclear– small modular reactor | 73.8836 | 0.6481 | 73.8836 | 0.6481 | 6145.5798 | 6145.5798 | 6145.5798 | Nuclear | NuclearSMR | 12681.1268 |  |  | 5841.3431 | 4928.6333 | 4320.16 | 3863.8051 | 216 |  |  | 73.8836 | 73.8836 | 73.8836 | 73.8836 | 2.8 | 0 | 0.6481 | 0.6481 | 0.6481 | 0.6481 | 0.6481 |  |  |  |  | R1
ELC
[5 empty] | USPTA | [7 empty] | 0.65207
~FI_T
TechName | *TechDesc | *Units | Region | CommIN | CommOUT | NCAP_START | PRC_CAPACT | EFF | STG_EFF | Peak | *lookup | NCAP_TLIFE | NCAP_DRATE | *lookup | NCAP_FOM~2010 | NCAP_FOM~2020 | ACT_COST | NCAP_COST~2010 | NCAP_COST~2020 | *LOOKUP: ATB Tech | *LOOKUP: ATB TechDetail | *ATB CAPEX Base | NCAP_COST~2025 | NCAP_COST~2030 | NCAP_COST~2035 | NCAP_COST~2040 | NCAP_COST~2045 | NCAP_COST~2050 | *ATB FOM Base | NCAP_FOM~2025 | NCAP_FOM~2030 | NCAP_FOM~2035 | NCAP_FOM~2040 | NCAP_FOM~2045 | NCAP_FOM~2050 | NCAP_AF | NCAP_AFC | NCAP_AF~WP | NCAP_AF~SP | NCAP_AF~IP | NCAP_AF~WN | NCAP_AF~SN | NCAP_AF~IN | Output_ELC | Input~2010 | Input~2015 | Input~2020 | Input~2055
* | new_battery_storage | [9 empty] | Lookup from LifetimeAssumptions |  |  | Lookup from 2023 Cap Raw Data | 2022 | 2022 | [6 empty] | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 |  | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
SSTOBATUTI-IN | Electricity Battery Storage 4-hour Utility Scale | PJ,GW | R2,R3,R4,R5,R6 | ELC | BATELC | 2023 | 31.536 |  | 1 |  | Battery Storage | 15 | 0.1 | Battery storage | [5 empty] | Utility-Scale Battery Storage | 4Hr Battery Storage | 2100.7782 | [6 empty] | 48.168 | [7 empty] | 0.16667 | [6 empty] | 1 | 1.1 |  | 1.1 | 1.1
ESTOBATUTI-OUT | Electricity Battery Storage 4-hour Utility Scale | PJ,GW | R2,R3,R4,R5,R6 | BATELC | ELC | 2023 | 31.536 | 0.85 |  | 0.5 | Battery Storage | 15 | 0.1 | Battery storage | 31.6224 | 31.6224 |  | 901.0789 | 901.0789 |  |  |  | 926.4562 | 761.3076 | 736.7671 | 712.2266 | 687.6861 | 663.1456 |  | 32.5592 | 26.4627 | 25.5568 | 24.6509 | 23.7449 | 22.839 | 0.16667 |  | 0.41667 | 0.41667 | 0.41667 |  |  |  | 1 | 1.1 |  | 1.1 | 1.1
SSTOBATUTI-IN | Electricity Battery Storage 4-hour Utility Scale | PJ,GW | R1 | ELC | BATELC | 2023 | 31.536 |  | 1 |  | Battery Storage | 15 | 0.1 | Battery storage | [5 empty] | Utility-Scale Battery Storage | 4Hr Battery Storage | 2100.7782 | [6 empty] | 48.168 | [7 empty] | 0.16667 | [6 empty] | 1 | 1.1 |  | 1.1 | 1.1
ESTOBATUTI-OUT | Electricity Battery Storage 4-hour Utility Scale | PJ,GW | R1 | BATELC | ELC | 2023 | 31.536 | 0.85 |  | 0.5 | Battery Storage | 15 | 0.1 | Battery storage | 31.6224 | 31.6224 |  | 880.8911 | 880.8911 |  |  |  | 905.6997 | 744.2511 | 720.2605 | 696.2698 | 672.2791 | 648.2884 |  | 32.5592 | 26.4627 | 25.5568 | 24.6509 | 23.7449 | 22.839 | 0.16667 |  | 0.41667 | 0.41667 | 0.41667 |  |  |  | 1 | 1.1 |  | 1.1 | 1.1
SSTOBAT10HRUTI-IN | Electricity Battery Storage 10-hour Utility Scale | PJ,GW | R2,R3,R4,R5,R6 | ELC | BATELC | 2030 | 31.536 |  | 1 |  | Battery Storage | 15 | 0.1 | Battery storage | [5 empty] | Utility-Scale Battery Storage | 10Hr Battery Storage | 4532.0592 | [6 empty] | 106.8073 | [7 empty] | 0.33333 | [6 empty] | 1 | 1.1 |  | 1.1 | 1.1
ESTOBAT10HRUTI-OUT | Electricity Battery Storage 10-hour Utility Scale | PJ,GW | R2,R3,R4,R5,R6 | BATELC | ELC | 2030 | 31.536 | 0.85 |  | 0.5 | Battery Storage | 15 | 0.1 | Battery storage | 31.6224 | 31.6224 |  | 901.0789 | 901.0789 |  |  |  | 1999.6539 | 1611.163 | 1557.5286 | 1503.8943 | 1450.2599 | 1396.6255 |  | 32.5503 | 26.0827 | 25.1897 | 24.2968 | 23.4039 | 22.511 | 0.33333 |  | 0.41667 | 0.41667 | 0.41667 | 0.41667 | 0.41667 | 0.41667 | 1 | 1.1 |  | 1.1 | 1.1
SSTOBAT10HRUTI-IN | Electricity Battery Storage 10-hour Utility Scale | PJ,GW | R1 | ELC | BATELC | 2030 | 31.536 |  | 1 |  | Battery Storage | 15 | 0.1 | Battery storage | [5 empty] | Utility-Scale Battery Storage | 10Hr Battery Storage | 4532.0592 | [6 empty] | 106.8073 | [7 empty] | 0.33333 | [6 empty] | 1 | 1.1 |  | 1.1 | 1.1
ESTOBAT10HRUTI-OUT | Electricity Battery Storage 10-hour Utility Scale | PJ,GW | R1 | BATELC | ELC | 2030 | 31.536 | 0.85 |  | 0.5 | Battery Storage | 15 | 0.1 | Battery storage | 31.6224 | 31.6224 |  | 880.8911 | 880.8911 |  |  |  | 1954.8534 | 1575.0663 | 1522.6336 | 1470.2008 | 1417.7681 | 1365.3353 |  | 32.5503 | 26.0827 | 25.1897 | 24.2968 | 23.4039 | 22.511 | 0.33333 |  | 0.41667 | 0.41667 | 0.41667 | 0.41667 | 0.41667 | 0.41667 | 1 | 1.1 |  | 1.1 | 1.1
~FI_T
TechName | *TechDesc | *Units | CommIN | CommOUT | Share~LO | Share~UP | ACT_EFF | NCAP_START | NCAP_TLIFE | PRC_CAPACT | Peak | NCAP_COST | NCAP_FOM | ACT_COST | NCAP_AF | NCAP_DRATE
*CHP Technologies | new_cap_CHP
ECHPBIO11 | Electric sector BIO CHP | PJ, GW | ELCBIOSTM |  |  |  | 0.8 | 2011 | 45 | 31.536 | 0.95 | 2874.2698 | 32.7797 | 1.3054 | 0.9 | 0.15
|  |  |  | ELC | 0.35 | 0.35
|  |  |  | COMSTBUC | 0.39 | 0.52
|  |  |  | RESSTBUC | 0.0975 | 0.13
ECHPCOAL11 | Electric sector Coal CHP | PJ, GW | COALBST |  |  |  | 0.8 | 2011 | 45 | 31.536 | 0.95 | 2874.2698 | 32.7797 | 1.3054 | 1 | 0.15
|  |  |  | ELC | 0.35 | 0.35
|  |  |  | COMSTBUC | 0.39 | 0.52
|  |  |  | RESSTBUC | 0.0975 | 0.13
ECHPNGA11 | Electric sector NGA CHP | PJ, GW | ELCNGAEA |  |  |  | 0.8 | 2011 | 45 | 31.536 | 0.95 | 971.4065 | 7.7166 | 4.5119 | 1 | 0.15
|  |  |  | ELC | 0.35 | 0.35
|  |  |  | COMSTNUC | 0.39 | 0.52
|  |  |  | RESSTNUC | 0.0975 | 0.13
ECHPOIL11 | Electric sector Oil CHP | PJ, GW | ELCDSLEA |  |  |  | 0.8 | 2011 | 45 | 31.536 | 0.95 | 971.4065 | 7.7166 | 4.5119 | 1 | 0.15
|  |  |  | ELC | 0.35 | 0.35
|  |  |  | COMSTNUC | 0.39 | 0.52
|  |  |  | RESSTNUC | 0.0975 | 0.13
Note on J5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Source appears to be: MIT 2009: LWR Base Case Assumptions (Update to 2003 Report).
Note on AB5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost conversion base year
Note on AC5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Currency year for 2023 update
Note on BK5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: GREET Emissions Factor - hard coded in source
Note on T6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Limits when new technologies are available, by restricting new capacity of outdated technologies.
Note on AC6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on B10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TODO: review process for adding new technologies. Is this right?
Note on AC10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on B11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TODO: review process for adding new technologies. Is this right?
Note on AC11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AC21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AE21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of variable O&M in mills kWh; convert to million PJ
Note on AS28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not read in veda
Note on AL30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 4-hour storage, out of 24 hour day
Note on AM31: esmia: 20% Reserve margin
Note on AP31: esmia: 20% Reserve margin
Note on AL32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 4-hour storage, out of 24 hour day
Note on AM33: esmia: 20% Reserve margin
Note on AP33: esmia: 20% Reserve margin
Note on AL34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 4-hour storage, out of 24 hour day
Note on AM35: esmia: 20% Reserve margin
Note on AP35: esmia: 20% Reserve margin
Note on AL36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 4-hour storage, out of 24 hour day
Note on AM37: esmia: 20% Reserve margin
Note on AP37: esmia: 20% Reserve margin

## TechData_SolarWind
_GLOBAL,R0,R1,R2,R3,R4,R5,R6
~FI_T
TechName | *TechDesc | Region | *Units | CommIN | CommOUT | NCAP_START | *lookup | NCAP_DRATE | NCAP_TLIFE | EFF | PRC_CAPACT | Peak | *LOOKUP | *Base Cost 2012 - not class adjusted | *2023 Cost LOOKUP | *Base Cost 2023 - not class adjusted | *Supply Curve Label | *Supply Curve Reference Price | *Supply Curve Class Cost Adjustor | NCAP_COST~2010 | NCAP_COST~2022 | NCAP_COST~2025 | NCAP_COST~2030 | NCAP_COST~2035 | NCAP_COST~2040 | NCAP_COST~2055 | NCAP_FOM~2005 | NCAP_FOM~2010 | NCAP_FOM~2015 | NCAP_FOM~2020 | NCAP_FOM~2025 | NCAP_FOM~2030 | NCAP_FOM~2035 | NCAP_FOM~2040 | NCAP_FOM~2045 | NCAP_FOM~2050 | *ATB_CapacityFactor | NCAP_AF~IDAM | NCAP_AF~IDPM | *NCAP_AF~IP_Calculation | NCAP_AF~IP | NCAP_AF~IN | NCAP_AF~SDAM | NCAP_AF~SDPM | *NCAP_AF~SP_Calc | NCAP_AF~SP | NCAP_AF~SN | NCAP_AF~WDAM | NCAP_AF~WDPM | *NCAP_AF~WP_Calculation | NCAP_AF~WP | NCAP_AF~WN | CAP_BND~UP
* Solar PV Technologies | solarPV_technologies | [5 empty] | *lifetime_lookup | [14 empty] | 2025 | 2030 | 2035 | 2040 | [5 empty] | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
ESOLPVCLOWCOST | Solar PV Centralized Generation, Low Cost | R1 | PJ, GW | ELCSOL | ELC | 2011 | Solar PV | 0.1 | 30 | 0.35714 | 31.536 | 0.1 | Photovoltaic | 3119.2315 | Solar PV with tracking | 1022.9702 | Utility-scale Solar_Rest of State_Low Cost | Utility-scale Solar_Rest of State_All | 0.95799 | 2988.2028 | 979.9986 | 962.4131 | 953.2192 | 996.5911 | 1054.1697 | 1054.1697 | 21.6088 | 21.6088 | 21.6088 | 21.6088 | 18.2654 | 18.2654 | 18.2654 | 18.2654 | 18.2654 | 18.2654 |  | 0.33965 | 0.33965 | 0.33965 | 0.06793 | 0 | 0.35624 | 0.35624 | 0.35624 | 0.071248 | 0 | 0.32015 | 0.32015 | 0.32015 | 0.064029 | 0 | 50.4385
ESOLPVCHIGHCOST | Solar PV Centralized Generation, High Cost | R1 | PJ, GW | ELCSOL | ELC | 2011 | Solar PV | 0.1 | 30 | 0.35714 | 31.536 | 0.1 | Photovoltaic | 3119.2315 | Solar PV with tracking | 1022.9702 | Utility-scale Solar_Rest of State_High Cost | Utility-scale Solar_Rest of State_All | 1.0978 | 3424.1599 | 1122.9732 | 1102.8221 | 1092.2869 | 1141.9865 | 1207.9654 | 1207.9654 | 21.6088 | 21.6088 | 21.6088 | 21.6088 | 18.2994 | 18.2994 | 18.2994 | 18.2994 | 18.2994 | 18.2994 |  | 0.33965 | 0.33965 | 0.33965 | 0.06793 | 0 | 0.35624 | 0.35624 | 0.35624 | 0.071248 | 0 | 0.32015 | 0.32015 | 0.32015 | 0.064029 | 0 | 21.6736
* Wind Technologies | wind_technologies | [35 empty] | timeslice_lookup | 1.1925 | 1.1925 | 1.1925 |  | 0.9555 | 0.71862 | 0.71862 | 0.71862 |  | 0.52527 | 1.3876 | 1.3876 | 1.3876 |  | 1.2295
EWNDONLOWCOST | Onshore Wind, Low Cost | R1 |  | ELCWND | ELC | 2011 | Wind | 0.1 | 30 | 0.35714 | 31.536 | 0.1 | Wind | 1929.8275 | Wind | 1749.1851 | Land-based Wind_Rest of State_Low Cost | Land-based Wind_Rest of State_All | 0.98734 | 1905.3958 | 1727.0403 | 1766.7622 | 1905.4481 | 2050.7494 | 2220.4401 | 2220.4401 | 34.6144 | 34.6144 | 34.6144 | 34.6144 | 37.9394 | 37.9394 | 37.9394 | 37.9394 | 37.9394 | 37.9394 | 0.35832 | 0.4273 | 0.4273 | 0.4273 | 0.08546 | 0.34238 | 0.2575 | 0.2575 | 0.2575 | 0.051499 | 0.18822 | 0.49722 | 0.49722 | 0.49722 | 0.099445 | 0.44057 | 11.0603
EWNDONHIGHCOST | Onshore Wind, High Cost | R1 |  | ELCWND | ELC | 2011 | Wind | 0.1 | 30 | 0.35714 | 31.536 | 0.1 | Wind | 1929.8275 | Wind | 1749.1851 | Land-based Wind_Rest of State_High Cost | Land-based Wind_Rest of State_All | 1.1593 | 2237.1676 | 2027.7564 | 2074.3948 | 2237.2289 | 2407.8304 | 2607.068 | 2607.068 | 34.6144 | 34.6144 | 34.6144 | 34.6144 | 38.1195 | 38.1195 | 38.1195 | 38.1195 | 38.1195 | 38.1195 | 0.37295 | 0.44474 | 0.44474 | 0.44474 | 0.088949 | 0.35636 | 0.26801 | 0.26801 | 0.26801 | 0.053602 | 0.1959 | 0.51752 | 0.51752 | 0.51752 | 0.1035 | 0.45856 | 0.87923
EWNDOFFIX | Offshore Wind Fixed Bottom | R1 |  | ELCWND | ELC | 2035 | Wind | 0.1 | 30 | 0.35714 | 31.536 | 0.1 |  |  | Wind offshore | 4639.0432 | Offshore Wind - Fixed Bottom_Rest of State_Fixed Bottom | Offshore Wind*_All_All | 0.85158 |  |  |  |  | 4690.9773 | 5079.1353 | 5079.1353 | [6 empty] | 57.5152 | 57.5152 | 57.5152 | 57.5152 | 0.55383 | 0.66045 | 0.66045 | 0.66045 | 0.13209 | 0.52919 | 0.39799 | 0.39799 | 0.39799 | 0.079599 | 0.29091 | 0.76852 | 0.76852 | 0.76852 | 0.1537 | 0.68096 | 10.8904
EWNDOFFIX | Offshore Wind Fixed Bottom | R2 |  | ELCWND | ELC | 2035 | Wind | 0.1 | 30 | 0.35714 | 31.536 | 0.1 |  |  | Wind offshore | 4639.0432 | Offshore Wind - Fixed Bottom_NYC_Fixed Bottom | Offshore Wind*_All_All | 0.88781 |  |  |  |  | 4047.0302 | 4118.5657 | 4118.5657 | [6 empty] | 58.377 | 58.377 | 58.377 | 58.377 | 0.54464 | 0.64949 | 0.64949 | 0.64949 | 0.1299 | 0.52041 | 0.39139 | 0.39139 | 0.39139 | 0.078278 | 0.28609 | 0.75577 | 0.75577 | 0.75577 | 0.15115 | 0.66966 | 4.1375
EWNDOFFLT | Offshore Wind Floating | R2 |  | ELCWND | ELC | 2040 | Wind | 0.1 | 30 | 0.35714 | 31.536 | 0.1 |  |  | Wind offshore | 4639.0432 | Offshore Wind - Floating_All_Floating | Offshore Wind*_All_All | 1.2057 | [5 empty] | 5593.1114 | 5593.1114 | [6 empty] | 98.1773 | 98.1773 | 98.1773 | 98.1773 | 0.54587 | 0.65095 | 0.65095 | 0.65095 | 0.13019 | 0.52158 | 0.39227 | 0.39227 | 0.39227 | 0.078454 | 0.28673 | 0.75747 | 0.75747 | 0.75747 | 0.15149 | 0.67117 | 10.1165
Note on G11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Given difficulty of obtaining lease/permits for new OSW projects, start date set to 2035

## TechData_Hydro
_GLOBAL,R0,R1,R2,R3,R4,R5,R6 |  |  | Placeholder
~FI_T
TechName | *TechDesc | *Units | CommIN | CommOUT | NCAP_START | NCAP_TLIFE | EFF | PRC_CAPACT | NCAP_FOM | ACT_COST | NCAP_COST | Peak | NCAP_AF | NCAP_DRATE | NCAP_BND~UP | NCAP_AFC |  | Region | ACT_BND~UP~2010 | ACT_BND~UP~2015 | ACT_BND~UP~2020 | ACT_BND~UP~2025 | ACT_BND~UP~2030 | ACT_BND~UP~2035 | ACT_BND~UP~2040 | ACT_BND~UP~2045 | ACT_BND~UP~2050 | ACT_BND~UP~2055 | Input | Output_elc
*R1 Conversion Tech RESIDS | conventional_hydro | [16 empty] | *R1 Conversion Tech RESIDS
EHYDCONR11 | Hydroelectric, Conventional | PJ, GW | ELCHYD | ELC | 2011 | 120 | 0.35714 | 31.536 | 32.2358 | 0 | 6518.0571 | 0.95 | 0.9 | 0.11 |  |  |  | R1 |  |  | 254 |  | 230 | [5 empty] | 2.8 | 1
~FI_T
TechName | *TechDesc | *Units | CommIN | CommOUT | NCAP_START | NCAP_TLIFE | STG_EFF | EFF | PRC_CAPACT | NCAP_FOM | ACT_COST | NCAP_COST | Peak | NCAP_DRATE | NCAP_BND~UP | NCAP_AF | NCAP_AFC | Region | ACT_BND~UP~2010 | ACT_BND~UP~2015 | ACT_BND~UP~2020 | ACT_BND~UP~2025 | ACT_BND~UP~2030 | ACT_BND~UP~2035 | ACT_BND~UP~2040 | ACT_BND~UP~2045 | ACT_BND~UP~2050 | ACT_BND~UP~2055 | Input | Output_elc
* | reversible_hydro
SHYDREVRIN11 | Hydroelectric, Reversible | PJ, GW | ELC | HYDELC | 2011 | 45 | 1 |  | 31.536 |  |  |  |  | 0.11 |  |  | 0.5 | R1 |  |  | 3.609 |  | 18.045 | [5 empty] | 1 | 0.8
EHYDREVROUT11 | Hydroelectric, Reversible | PJ, GW | HYDELC | ELC | 2011 | 45 |  | 0.8 | 31.536 | 32.2358 | 0 | 6518.0571 | 0.9 | 0.11 |  | 0.5 |  | R1 |  |  | 3.609 |  | 18.045 | [5 empty] | 1 | 0.8
Note on AE6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Input not relevant for hydroelectricity